## metadata
Instructions: Please do not change the order of Rows No. 1 through No. 240. Please do not use special characters. Text highlighted in red indicates information needed to conduct quality control of submitted data, please try to fill in as much as possible for the number of variables relevant for the submitted data sets. Note that all rows in bold contain a drop-down menu, please follow the instructions provided and choose one of the options.
Number | Metadata element name | Your input | Help reference number
1 | Submission Date | 2023-11-21 | 1
2 | Accession no. of related data sets on the 14.3.1 data platform or any other data base | 244, 367 | 2
3 | URL of metadata set |  | 3
4 | URL of associated data set |  | 4
5 | DOI of dataset (if applicable) |  | 5
6 | Investigator-1 name | Matthew P. Humphreys | 6.1
7 | Investigator-1 institution | NIOZ Royal Netherlands Institute for Sea Research, Department of Ocean Systems (OCS), and Utrecht University, the Netherlands | 6.2
8 | Investigator-1 institution ID (OceanExpert) | 7656 | 6.3.
9 | Investigator-1 address | PO Box 59, 1790 AB Den Burg (Texel), the Netherlands | 6.4
10 | Investigator-1 phone | +31222369351 | 6.5
11 | Investigator-1 email | matthew.humphreys@nioz.nl | 6.6
12 | Investigator-1 researcher ID | 0000-0002-9371-7128 | 6.7
13 | Investigator-1 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
14 | Investigator-2 name | Gert-Jan Reichart | 6.1
15 | Investigator-2 institution | NIOZ Royal Netherlands Institute for Sea Research, Department of Ocean Systems (OCS), and Utrecht University, the Netherlands | 6.2
16 | Investigator-2 institution ID (OceanExpert) | 7656 | 6.3.
17 | Investigator-2 address | PO Box 59, 1790 AB Den Burg (Texel), the Netherlands | 6.4
18 | Investigator-2 phone | +31222369397 | 6.5
19 | Investigator-2 email | gert-jan.reichart@nioz.nl | 6.6
20 | Investigator-2 researcher ID | 0000-0002-7256-2243 | 6.7
21 | Investigator-2 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
22 | Investigator-3 name |  | 6.1
23 | Investigator-3 institution |  | 6.2
24 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
25 | Investigator-3 address |  | 6.4
26 | Investigator-3 phone |  | 6.5
27 | Investigator-3 email |  | 6.6
28 | Investigator-3 researcher ID |  | 6.7
29 | Investigator-3 ID type (OceanExpert, ORCID, ResearcherID, etc.) |  | 6.8
30 | Data submitter name | Matthew P. Humphreys | 7.1
31 | Data submitter institution | NIOZ Royal Netherlands Institute for Sea Research, Department of Ocean Systems (OCS), and Utrecht University, the Netherlands | 7.2
32 | Data submitter - institution ID (OceanExpert) | 7656 | 7.3
33 | Data submitter address | PO Box 59, 1790 AB Den Burg (Texel), the Netherlands | 7.4
34 | Data submitter phone | +31222369351 | 7.5
35 | Data submitter email | matthew.humphreys@nioz.nl | 7.6
36 | Data submitter researcher ID | 0000-0002-9371-7128 | 7.7
37 | Data submitter ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 7.8
38 | Name of sampling site or title of related research project | Monitoring Verzuring Noordzee | 8
39 | Short description including purpose of observation | Monitoring programme of the Dutch Ministry of Infrastructure and Water Management to improve the understanding of dynamics and trends in ocean acidification parameters in the Dutch sector of the North Sea. This dataset (version 2023.10) contains all measurements from all batches of analysis up to and including October 2023 for which auxiliary variables (temperature, salinity and nutrients) were available from Rijkswaterstaat at the time of publication, specifically, 982 measurements of dissolved inorganic carbon, 981 of total alkalinity and 983 of pH, from 22 January 2018 to 22 March 2023. This dataset is a replacement for the previous version (v10; doi:10.25850/nioz/7b.b.tc). All data that appear in both this and the previous version are identical except for 49 DIC measurements which have been adjusted by up to 3 micromol/kg due to an improved calibration and 3 measurements of nutrients which have changed almost negligibly due to updated auxiliary data from Rijkswaterstaat. | 9
40 | Method(s) applied | Dissolved inorganic carbon: coulometric titration with excess phosphoric acid. Total alkalinity: potentiometric titration with hydrochloric acid. pH: metacresol purple indicator measured with spectrophotometer. Nutrients: spectrophotometric. | 10
41 | First day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2018-01-22 | 11.1
42 | Last day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2023-03-22 | 11.2
43 | Site specific measurement longitude |  | 12.1
44 | Site specific measurement latitude |  | 12.2
45 | Transect measurement longitude easternmost | 6.3100 | 12.3
46 | Transect measurement longitude westernmost | 2.6791 | 12.4
47 | Transect measurement latitude northernmost | 55.1723 | 12.5
48 | Transect measurement latitude southernmost | 51.5488 | 12.6
49 | Funding agency name | Ministry of Infrastructure and Water Management (NL) | 13.1
50 | Funding project title | Monitoring Verzuring Noordzee | 13.2
51 | Funding project ID (Grant number) | n/a | 13.3
52 | Platform name | Zirfaea | 14.1
53 | Platform category | Ship-based time series (vessel) | 14.2
54 | Platform ID | 64ZF | 14.3
55 | Platform ID type | ICES | 14.4
56 | Platform-1 owner | Government of the Netherlands | 14.5
57 | Platform-1 country | Netherlands | 14.6
58 | EXPOCODE |  | 15.1
59 | Cruise ID |  | 15.2
60 | Cruise ID type |  | 15.3
61 | Author list for citation | Humphreys, Matthew P.; Ossebaar, Sharyn; Bakker, Karel; Reichart, Gert-Jan | 16
62 | References |  | 17
63 | Supplemental information |  | 18
64 | Depth: Variable abbreviation in data files | depth_nominal | 19.1
65 | Depth: Variable unit | m | 19.2
66 | DIC: Variable abbreviation in data files | dic | 20.1
67 | DIC: Observation type | underway | 20.2
68 | DIC: Variable unit | µmol kg-1 | 20.3
69 | DIC: Collection method (e.g. bottle sampling) | water collection with pump | 20.4
70 | DIC: Analyzing instrument | Marianda Company VINDTA 3C system | 20.5
71 | DIC: Analyzing information with citation | SOP 2 (Dickson et al., 2007) | 20.6
72 | DIC: Quality control | Yes | 20.7
73 | DIC: Abbreviation of data quality flag scheme | dic_flag | 20.8
74 | DIC: Data quality scheme (name of scheme) | WOCECTD | 20.9
75 | DIC: Uncertainty | 2 µmol kg-1 | 20.1
76 | DIC: Field replicate information | 1 | 20.11
77 | DIC: Calibration method | Dickson CRMs used to calibrate coulometer | 20.12
78 | DIC: Frequency of calibration | every 10 samples | 20.13
79 | DIC: CRM manufacturer | Dickson CRM | 20.14
80 | DIC: Batch number(s) | 171 | 20.15
81 | DIC: Poison used to kill the sample | HgCl2 | 20.16
82 | DIC: Poison volume | 0.1% volume of original sample | 20.17
83 | DIC: Poisoning correction description | DIC(final) = DIC(measured) * (1 + poison_volume / sample_volume) | 20.18
84 | DIC: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 20.19
85 | DIC: Changes to Method or SOP |  | 20.2
86 | TA: Variable abbreviation in data files | alkalinity | 21.1
87 | TA: Observation type | underway | 21.2
88 | TA: Variable unit | µmol kg-1 | 21.3
89 | TA: Collection method (e.g. bottle sampling) | water collection with pump | 21.4
90 | TA: Measured or calculated | Measured | 21.5
91 | TA: Calculation method and parameters |  | 21.6
92 | TA: Analyzing instrument | Marianda Company VINDTA 3C system | 21.7
93 | TA: Analyzing information with citation (SOP etc) | SOP 3b (Dickson et al., 2007) | 21.8
94 | TA: Quality control | Yes | 21.9
95 | TA: Abbreviation of data quality flag scheme | alkalinity_flag | 21.1
96 | TA: Data quality flag scheme | WOCECTD | 21.11
97 | TA: Uncertainty | 2 µmol kg-1 | 21.12
98 | TA: Type of titration | Acidimetric, potentiometric | 21.13
99 | TA: Cell type (open or closed) | Open | 21.14
100 | TA: Curve fitting method | curve fitting with least square optimisation | 21.15
101 | TA: Field replicate information | 1 | 21.16
102 | TA: Calibration method | Dickson CRMs used to calibrate acid concentration | 21.17
103 | TA: Frequency of calibration | every 10 samples | 21.18
104 | TA: CRM manufacturer | Dickson CRM | 21.19
105 | TA: Batch Number(s) | 171 | 21.2
106 | TA: Poison used to kill the sample | HgCl2 | 21.21
107 | TA: Poison volume | 0.1% volume of original sample | 21.22
108 | TA: Poisoning correction description | TA(final) = TA(measured) * (1 + poison_volume / sample_volume) | 21.23
109 | TA: Magnitude of blank correction | No | 21.24
110 | TA: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 21.25
111 | TA: Changes to Method or SOP |  | 21.26
112 | pH: Variable abbreviation in data files | pH_spectro_total_lab | 22.1
113 | pH: Observation type | underway | 22.2
114 | pH: Collection method (e.g. bottle sampling) | water collection with pump | 22.3
115 | pH: Analyzing instrument | spectrophotometer | 22.4
116 | pH: Analyzing information with citation (SOP etc) | SOP 06b (Dickson et al., 2007) | 22.5
117 | pH: pH scale | total scale | 22.6
118 | pH: Quality control | Yes | 22.7
119 | pH: Abbreviation of data quality flag scheme | pH_spectro_flag | 22.8
120 | pH: Data quality flag scheme | WOCECTD | 22.9
121 | pH: Uncertainty | 0.005 pH units | 22.1
122 | pH: Temperature of measurement |  | 22.11
123 | pH: Field replicate information | 1 | 22.12
124 | pH: Calibration method | Tris buffer and seawater CRMs both from Dickson lab | 22.13
125 | pH: Frequency of calibration | every 6 hours | 22.14
126 | pH:Type of dye and manufacturer information | Purified metacresol purple, 10 mM. Obtained in June 2018 from the laboratory of Robert Byrne and Liu Xuewu (University of South Florida, USA) | 22.15
127 | pH: pH values of the standards |  | 22.16
128 | pH: Temperature of calibration | 25 | 22.17
129 | pH: Temperature correction method | None | 22.18
130 | pH: At what temperature was pH reported |  | 22.19
131 | pH: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 22.2
132 | pH: Changes to Method or SOP |  | 22.21
133 | pCO2: Variable abbreviation in data files |  | 23.1
134 | pCO2: Observation type |  | 23.2
135 | pCO2: Variable unit |  | 23.3
136 | pCO2: Collection method (e.g. bottle sampling) |  | 23.4
137 | pCO2: Location of seawater intake |  | 23.5
138 | pCO2: Depth of seawater intake |  | 23.6
139 | pCO2: Analyzing instrument |  | 23.7
140 | pCO2: Analyzing information with citation (SOP etc) |  | 23.8
141 | pCO2: Quality control |  | 23.9
142 | pCO2: Abbreviation of data quality flag scheme |  | 23.1
143 | pCO2: Data quality flag scheme |  | 23.11
144 | pCO2: Uncertainty |  | 23.12
145 | pCO2: Equilbrator type |  | 23.13
146 | pCO2: Equilibrator volume (L) |  | 23.14
147 | pCO2: Equilibrator vented or not |  | 23.15
148 | pCO2: Equilibrator water flow rate (L min-1) |  | 23.16
149 | pCO2: Equilibrator headspace gas flow rate (L min-1) |  | 23.17
150 | pCO2: How was temperature inside the equilibrator measured |  | 23.18
151 | pCO2: How was pressure inside the equilibrator measured |  | 23.19
152 | pCO2: Drying method for CO2 gas |  | 23.2
153 | pCO2: Manufacturer of the gas detector |  | 23.21
154 | pCO2: Model of the gas detector |  | 23.22
155 | pCO2: Resolution of the gas detector |  | 23.23
156 | pCO2: Uncertainty of the gas detector |  | 23.24
157 | pCO2: Calibration method |  | 23.25
158 | pCO2: Frequency of calibration |  | 23.26
159 | pCO2: Manufacturer of standard gas |  | 23.27
160 | pCO2: Concentrations of standard gas |  | 23.28
161 | pCO2: Uncertainties of standard gas |  | 23.29
162 | pCO2: Water vapor correction method |  | 23.3
163 | pCO2: Temperature correction method |  | 23.31
164 | pCO2: At what temperature was pCO2 reported |  | 23.32
165 | pCO2: Method reference (citation) |  | 23.33
166 | pCO2: Changes to Method or SOP |  | 23.34
167 | fCO2: Variable abbreviation in data files |  | 24.1
168 | fCO2: Observation type |  | 24.2
169 | fCO2: Variable unit |  | 24.3
170 | fCO2: Collection method (e.g. bottle sampling) |  | 24.4
171 | fCO2: Location of seawater intake |  | 24.5
172 | fCO2: Depth of seawater intake |  | 24.6
173 | fCO2: Analyzing instrument |  | 24.7
174 | fCO2: Analyzing information with citation (SOP etc) |  | 24.8
175 | fCO2: Quality control |  | 24.9
176 | fCO2: Abbreviation of data quality flag scheme |  | 24.1
177 | fCO2: Data quality flag scheme |  | 24.11
178 | fCO2: Uncertainty |  | 24.12
179 | fCO2: Equilbrator type |  | 24.13
180 | fCO2: Equilibrator volume (L) |  | 24.14
181 | fCO2: Equilibrator vented or not |  | 24.15
182 | fCO2: Equilibrator water flow rate (L min-1) |  | 24.16
183 | fCO2: Equilibrator headspace gas flow rate (L min-1) |  | 24.17
184 | fCO2: How was temperature inside the equilibrator measured |  | 24.18
185 | fCO2: How was pressure inside the equilibrator measured |  | 24.19
186 | fCO2: Drying method for CO2 gas |  | 24.2
187 | fCO2: Manufacturer of the gas detector |  | 24.21
188 | fCO2: Model of the gas detector |  | 24.22
189 | fCO2: Resolution of the gas detector |  | 24.23
190 | fCO2: Uncertainty of the gas detector |  | 24.24
191 | fCO2: Calibration method |  | 23.25
192 | fCO2: Frequency of calibration |  | 23.26
193 | fCO2: Manufacturer of standard gas |  | 23.27
194 | fCO2: Concentrations of standard gas |  | 23.28
195 | fCO2: Uncertainties of standard gas |  | 23.29
196 | fCO2: Water vapor correction method |  | 23.3
197 | fCO2: Temperature correction method |  | 23.31
198 | fCO2: At what temperature was fCO2 reported |  | 23.32
199 | fCO2: Method reference (citation) |  | 23.33
200 | fCO2: Changes to Method or SOP |  | 23.34
201 | Temperature: Variable abbreviation in data files | temperature | 25.1
202 | Temperature: Observation type | underway | 25.2
203 | Temperature: Variable unit | Celsius | 25.3
204 | Temperature: Collection method (e.g. bottle sampling) | in situ sensor measurement | 25.4
205 | Temperature: Analyzing instrument | Seabird sensors | 25.5
206 | Temperature: Analyzing information with citation (SOP etc) |  | 25.6
207 | Temperature: Quality control | No | 25.7
208 | Temperature: Abbreviation of data quality flag scheme |  | 25.8
209 | Temperature: Data quality flag scheme |  | 25.9
210 | Temperature: Uncertainty |  | 25.1
211 | Temperature: Field replicate information | 1 | 25.11
212 | Temperature: Method reference (citation) |  | 25.12
213 | Temperature: Changes to Method or SOP |  | 25.13
214 | Salinity: Variable abbreviation in data files | salinity | 26.1
215 | Salinity: Observation type | underway | 26.2
216 | Salinity: Variable unit | PSU | 26.3
217 | Salinity: Collection method (e.g. bottle sampling) | in situ sensor measurement | 26.4
218 | Salinity: Analyzing instrument | other | 26.5
219 | Salinity: Analyzing information with citation (SOP etc) |  | 26.6
220 | Salinity: Quality control | No | 26.7
221 | Salinity: Abbreviation of data quality flag scheme |  | 26.8
222 | Salinity: Data quality flag scheme |  | 26.9
223 | Salinity: Uncertainty |  | 26.1
224 | Salinity: Field replicate information | 1 | 26.11
225 | Salinity: Method reference (citation) |  | 26.12
226 | Salinity: Changes to Method or SOP |  | 26.13
227 | Var1: Variable abbreviation in data files | silicate | 27.1
228 | Var1: Full variable name | Concentration of silicate (Si(OH)4, H4SiO4, SiO2, Sil) | 27.2
229 | Var1: Observation type | underway | 27.3
230 | Var1: Variable unit | µmol kg-1 | 27.4
231 | Var1: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
232 | Var1: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
233 | Var1: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.004 (Rijkswaterstaat) | 27.7
234 | Var1: Quality control | Yes | 27.8
235 | Var1: Abbreviation of data quality flag scheme |  | 27.9
236 | Var1: Data quality flag scheme |  | 27.1
237 | Var1: Uncertainty | 15% | 27.11
238 | Var1: Field replicate information | 1 | 27.12
239 | Var1: Method reference (citation) | de Haan, W. (2018). Zeewater – Bepaling van het gehalte aan nutriënten m.b.v. autoanalyzer (Nitraat, nitriet, ammonium, orthofosfaat, silicaat) [Seawater – Determination of the nutrient content by autoanalyser (nitrate, nitrite, ammonium, orthophosphate, silicate)]. Analysevoorschrift A1.004, version 8. Rijkswaterstaat, the Netherlands. | 27.13
240 | Var1: Changes to Method or SOP |  | 27.14
241 | Var2: Variable abbreviation in data files | phosphate | 27.1
242 | Var2: Full variable name | Concentration of phosphate (PO43-) | 27.2
243 | Var2: Observation type | underway | 27.3
244 | Var2: Variable unit | µmol kg-1 | 27.4
245 | Var2: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
246 | Var2: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
247 | Var2: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.004 (Rijkswaterstaat) | 27.7
248 | Var2: Quality control | No | 27.8
249 | Var2: Abbreviation of data quality flag scheme |  | 27.9
250 | Var2: Data quality flag scheme |  | 27.1
251 | Var2: Uncertainty | 25% | 27.11
252 | Var2: Field replicate information | 1 | 27.12
253 | Var2: Method reference (citation) | de Haan, W. (2018). Zeewater – Bepaling van het gehalte aan nutriënten m.b.v. autoanalyzer (Nitraat, nitriet, ammonium, orthofosfaat, silicaat) [Seawater – Determination of the nutrient content by autoanalyser (nitrate, nitrite, ammonium, orthophosphate, silicate)]. Analysevoorschrift A1.004, version 8. Rijkswaterstaat, the Netherlands. | 27.13
254 | Var2: Changes to Method or SOP |  | 27.14
255 | Var3: Variable abbreviation in data files | nitrate | 27.1
256 | Var3: Full variable name | Concentration of nitrate (NO3-) | 27.2
257 | Var3: Observation type | underway | 27.3
258 | Var3: Variable unit | µmol kg-1 | 27.4
259 | Var3: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
260 | Var3: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
261 | Var3: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.004 (Rijkswaterstaat) | 27.7
262 | Var3: Quality control | No | 27.8
263 | Var3: Abbreviation of data quality flag scheme |  | 27.9
264 | Var3: Data quality flag scheme |  | 27.1
265 | Var3: Uncertainty | 30% | 27.11
266 | Var3: Field replicate information | 1 | 27.12
267 | Var3: Method reference (citation) | de Haan, W. (2018). Zeewater – Bepaling van het gehalte aan nutriënten m.b.v. autoanalyzer (Nitraat, nitriet, ammonium, orthofosfaat, silicaat) [Seawater – Determination of the nutrient content by autoanalyser (nitrate, nitrite, ammonium, orthophosphate, silicate)]. Analysevoorschrift A1.004, version 8. Rijkswaterstaat, the Netherlands. | 27.13
268 | Var3: Changes to Method or SOP |  | 27.14
269 | Var4: Variable abbreviation in data files | nitrite | 27.1
270 | Var4: Full variable name | Concentration of nitrite (NO2-) | 27.2
271 | Var4: Observation type | underway | 27.3
272 | Var4: Variable unit | µmol kg-1 | 27.4
273 | Var4: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
274 | Var4: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
275 | Var4: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.004 (Rijkswaterstaat) | 27.7
276 | Var4: Quality control | No | 27.8
277 | Var4: Abbreviation of data quality flag scheme |  | 27.9
278 | Var4: Data quality flag scheme |  | 27.1
279 | Var4: Uncertainty | 30% | 27.11
280 | Var4: Field replicate information | 1 | 27.12
281 | Var4: Method reference (citation) | A090 | 27.13
282 | Var4: Changes to Method or SOP |  | 27.14
283 | Var5: Variable abbreviation in data files | ammonia | 27.1
284 | Var5: Full variable name | Concentration of ammonia (NH4+) | 27.2
285 | Var5: Observation type | underway | 27.3
286 | Var5: Variable unit | µmol kg-1 | 27.4
287 | Var5: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
288 | Var5: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
289 | Var5: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.004 (Rijkswaterstaat) | 27.7
290 | Var5: Quality control | No | 27.8
291 | Var5: Abbreviation of data quality flag scheme |  | 27.9
292 | Var5: Data quality flag scheme |  | 27.1
293 | Var5: Uncertainty | 15% | 27.11
294 | Var5: Field replicate information | 1 | 27.12
295 | Var5: Method reference (citation) | de Haan, W. (2018). Zeewater – Bepaling van het gehalte aan nutriënten m.b.v. autoanalyzer (Nitraat, nitriet, ammonium, orthofosfaat, silicaat) [Seawater – Determination of the nutrient content by autoanalyser (nitrate, nitrite, ammonium, orthophosphate, silicate)]. Analysevoorschrift A1.004, version 8. Rijkswaterstaat, the Netherlands. | 27.13
296 | Var5: Changes to Method or SOP |  | 27.14
297 | Var6: Variable abbreviation in data files | doc | 27.1
298 | Var6: Full variable name | Dissolved organic carbon concentration | 27.2
299 | Var6: Observation type | underway | 27.3
300 | Var6: Variable unit | µmol kg-1 | 27.4
301 | Var6: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
302 | Var6: Analyzing instrument | CFA; continuous flow system with spectrophotometric detection (Skalar) | 27.6
303 | Var6: Analyzing information with citation (SOP etc) | Analysevoorschrift A1.049 (Rijkswaterstaat) | 27.7
304 | Var6: Quality control | No | 27.8
305 | Var6: Abbreviation of data quality flag scheme |  | 27.9
306 | Var6: Data quality flag scheme |  | 27.1
307 | Var6: Uncertainty | 20% | 27.11
308 | Var6: Field replicate information | 1 | 27.12
309 | Var6: Method reference (citation) | Buwalda, M. (2019). Zeewater – Bepaling van het gehalte aan opgelost organisch koolstof (DOC); doorstroomanalyse [Seawater – Determination of the dissolved organic carbon (DOC) content; flow-through analysis]. Analysevoorschrift A1.049, version 9. Rijkswaterstaat, the Netherlands. | 27.13
310 | Var6: Changes to Method or SOP |  | 27.14
311 | Var7: Variable abbreviation in data files | pH_spectro_temperature | 27.1
312 | Var7: Full variable name | Temperature of spectrophotometric pH analysis | 27.2
313 | Var7: Observation type | underway | 27.3
314 | Var7: Variable unit | Celsius | 27.4
315 | Var7: Collection method (e.g. bottle sampling) | water collection with pump | 27.5
316 | Var7: Analyzing instrument | Vernier Go!Temp | 27.6
317 | Var7: Analyzing information with citation (SOP etc) |  | 27.7
318 | Var7: Quality control | No | 27.8
319 | Var7: Abbreviation of data quality flag scheme |  | 27.9
320 | Var7: Data quality flag scheme |  | 27.1
321 | Var7: Uncertainty | 0.1 °C | 27.11
322 | Var7: Field replicate information | 1 | 27.12
323 | Var7: Method reference (citation) |  | 27.13
324 | Var7: Changes to Method or SOP |  | 27.14

## Sheet2
ID type | Platform category | Platform/cruise ID | depth | Observation type | DIC/TA Variable unit | DIC Instruments | TA | pH | Frequency of calibration | CRM manufacturer | Poison | Poison volume | Country | Data quality schemes | Data quality flags
OceanExpert | Fixed Ocean Time Series | ICES | cm | underway | mol kg-1 | Marianda Company VINDTA 3C system | Cell Type | pH scale | every 3 hours | Dickson CRM | HgCl2 | 0.02% volume of original sample | Afghanistan | ODV | 0
ORCID | Mooring | IMO | m | profile | mmol kg-1 | Marianda Company VINDTA 3D system | Open | total scale | every 6 hours |  |  | 0.05% volume of original sample | Albania | GTSPP | 1
ResearcherID | Coastal Monitoring Site | WMO |  | time series | µmol kg-1 | Marianda Company AIRICA system | Closed | seawater scale | every 10 samples |  |  | 0.1% volume of original sample | Algeria | ARGO | 2
| Repeat Hydrography (vessel) |  |  | fixed coastal station |  | Apollo SciTech Inc. DIC Analyser AS-C3 |  | NBS scale | every 20 samples |  |  |  | Angola | SEADATANET | 3
| Ship-based time series (vessel) |  |  |  |  | Nihon ANS Co. | Curve fitting method | free scale |  |  |  |  | Argentina | ESEAS | 4
| Argo float |  |  | Collection Method |  | SOMMA coupled to coulometer | curve fitting with least square optimisation | [5 empty] | Australia | WOD | 5
| Glider |  |  | water collection with a water sampler (e.g. Niskin) |  |  | modified gran approach | [5 empty] | Austria | WODSTATION | 6
| Voluntary Observing Ship |  |  | water collection with bucket | [8 empty] | Azerbaijan | WOCECTD | 7
|  |  |  | water collection with pump | [8 empty] | Bahamas | WOCEBOTTLE | 8
|  |  |  | in situ sensor measurement |  | TA Instruments | [6 empty] | Bangladesh | WOCESAMPLE | 9
No | [5 empty] | Apollo SciTech Alkalinity Titrator AS-ALK2 | [6 empty] | Barbados | WOCE | blank
Yes | [5 empty] | Marianda Company VINDTA 3S system | pCO2 | Temperature |  |  |  |  | Belgium | QARTOD | ˂
|  |  |  | Field replicate info |  | Contros HydroFIA TA | Variable unit | Variable Unit |  |  |  |  | Belize | BODC | ˃
|  |  |  | 1 |  | Total alkalinity titration system | μatm | Celsius |  |  |  |  | Benin | PANGAEA | *
Measured |  |  |  | 2 |  | Marianda Company VINDTA 3C system | ppt | Fahrenheit |  |  |  |  | Brazil | SMHI | \
Calculated |  |  |  | 3 | [8 empty] | Bulgaria | OceanSITES | ¦
|  |  |  | 4 |  | pH Instruments | Equilibrator | [5 empty] | Cabo Verde | IODE | ?
|  |  |  | 5 |  | seaFET Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Vented | Salinity |  |  |  |  | Cameroon |  | #
|  |  |  | 6 |  | seapHox Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Not vented | PSU |  |  |  |  | Canada |  | A
[6 empty] | Deep SeaFET (Sea-Bird) |  | PPT |  |  |  |  | Chile |  | B
[6 empty] | Durafet III pH electrode | [6 empty] | China |  | C
[6 empty] | Sunburst iSAMI pH sensor | [6 empty] | Colombia |  | D
[6 empty] | Sunburst SAMI pH sensor | [6 empty] | Comoros |  | E
[6 empty] | Sunburst AFT pH | [6 empty] | Congo |  | G
[6 empty] | spectrophotometer | [6 empty] | Cook Islands |  | H
[13 empty] | Costa Rica |  | I
[13 empty] | Côte d'Ivoire |  | K
[13 empty] | Croatia |  | L
[6 empty] | pCO2/fCO2 Instruments | [6 empty] | Cuba |  | M
[6 empty] | Contros-Kongsberg HydroC CO2 FT | [6 empty] | Cyprus |  | N
[6 empty] | Moored Autonomous pCO2 monitoring System (MAPCO2™) | [6 empty] | Czechia |  | O
[6 empty] | Battelle Seaology pCO2 monitoring System (LiCor NDIR based) | [6 empty] | Democratic People's Republic of Korea |  | P
[6 empty] | Pro-OCEANUS Systems: CO2-Pro™ | [6 empty] | Congo (Democratic Republic) |  | Q
[6 empty] | Pro-OCEANUS Systems: CO2-Pro CV™ | [6 empty] | Denmark |  | R
[6 empty] | Pro-OCEANUS Systems: CO2-PRO AtmosphereTM | [6 empty] | Djibouti |  | S
[6 empty] | Pro-OCEANUS Systems: Mini CO2TM | [6 empty] | Dominica |  | T
[6 empty] | General Oceanics GO pCO2 system | [6 empty] | Dominican Republic |  | U
[6 empty] | Apollo Scitech inc. pCO2 system (AS-P2) | [6 empty] | Ecuador |  | W
[6 empty] | Sunburst Sensors SAMI-CO2 | [6 empty] | Egypt |  | X
[6 empty] | Sunburst Sensors Superco2 system | [6 empty] | El Salvador
[6 empty] | Sunburst Sensors AFT-CO2 | [6 empty] | Equatorial Guinea
[6 empty] | Kimoto Air-Marine CO2 Automatic Monitoring System | [6 empty] | Eritrea
[6 empty] | Kimoto Portable carbon dioxide analyzer | [6 empty] | Estonia
[6 empty] | CONTROS HydroC CO2 Sensor | [6 empty] | Ethiopia
[6 empty] | SubCtech OceanPack System | [6 empty] | Fiji
[6 empty] | Picarro CO2 System | [6 empty] | Finland
[6 empty] | Marianda Company SUNDANS system | [6 empty] | France
[6 empty] | Turner Designs C-sense™ in situ pCO2 Sensor | [6 empty] | Gabon
[6 empty] | Pro-OCEANUS CO2-Pro | [6 empty] | Gambia
[6 empty] | VeGAS pCO2 | [6 empty] | Georgia
[6 empty] | flask equilibrator coupled to GC or NDIR | [6 empty] | Germany
Ghana
Greece
Grenada
[6 empty] | Temperature Instruments | [6 empty] | Guatemala
[6 empty] | Seabird sensors | [6 empty] | Guinea
[6 empty] | YSI sensors | [6 empty] | Guinea Bissau
[6 empty] | Fluke Hart | [6 empty] | Guyana
Haiti
Honduras
[6 empty] | Salinity Instruments | [6 empty] | Iceland
[6 empty] | Seabird sensors | [6 empty] | India
[6 empty] | YSI sensors | [6 empty] | Indonesia
[6 empty] | other | [6 empty] | Iran (Islamic Republic of)
Iraq
Ireland
Israel
Italy
Jamaica
Japan
Jordan
Kazakhstan
Kenya
Kiribati
Kuwait
Lebanon
Libya
Madagascar
Malaysia
Maldives
Malta
Mauritania
Mauritius
Mexico
Monaco
Montenegro
Morocco
Mozambique
Myanmar
Namibia
Nauru
Netherlands
New Zealand
Nicaragua
Nigeria
Niue
Norway
Oman
Pakistan
Palau
Panama
Papua New Guinea
Peru
Philippines
Poland
Portugal
Qatar
Republic of Korea
Romania
Russian Federation
Saint Kitts and Nevis
Saint Lucia
Saint Vincent and the Grenadines
Samoa
Saudi Arabia
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovenia
Solomon Islands
Somalia
South Africa
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Thailand
Timor-Leste
Togo
Tonga
Trinidad & Tobago
Tunisia
Turkey
Turkmenistan
Tuvalu
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Vanuatu
Venezuela (Bolivarian Republic of)
Viet Nam
Yemen